LL-2020-9257-00

23 November 2021

RAYNES, BARRY

C/- FERGUSSON PLANNING LIMITED

SUITE 4, LEVEL 1

202 THE STRAND

WHAKATANE 3120

Dear Tim

resource consent (land use)

I am pleased to advise you that your land use consent (detailed below) has been granted. Whakatāne District Council’s decision and the conditions of consent are attached. As the consent holder, it is your responsibility to ensure you comply with all the conditions of this consent when you undertake the activity.

| TYPE: | LAND USE SECTION 88 (APPLICATION) |
| --- | --- |
| APPLICANT: | RAYNES, BARRY |
| DETAILS: | TO CONSTRUCT A DWELLING WITH AN ATTACHED GARAGE THAT HAS A PLATFORM BELOW THE MINIMUM BUILDING PLATFORM LEVEL AND NON-COMPLIANT SITE PERMEABILITY AND OUTDOOR LIVING SPACE |
| ADDRESS: | 60A POHUTU STREET Whakatane |

The conditions of consent must be completed and complied with before you can operate or commence the approved activity.

Please read the consent conditions carefully and ensure any contractor or person acting on your behalf is provided with a copy of the conditions and any approved engineering drawings or standard drawings from Council’s Engineering Code of Practice or District Plan. Be aware that if works are not completed correctly then you will have to rectify the problem at your own cost. For example, this may include re-laying a right-of-way or vehicle crossing if it is not constructed to the required standard.

Similarly, you must ensure that any inspections that are required by the conditions of consent are undertaken (for example, for sewer laterals, rights-of-way, and vehicle crossings). If the required inspection is not done, then Council may not be able to approve construction.

If you or your contractor have any questions about compliance with these conditions, the standards or specifications of a drawing, or what must be inspected and when it must occur, please contact Councils monitoring officer at monitoring@whakatane.govt.nz

Please note that this consent will expire if not given effect to within five years of the date of this letter.  Under some circumstances, this five-year period may be extended if an application for an extension is made before the consent lapses and is in accordance with Section 125 of the Resource Management Act 1991.

An invoice for the additional fees payable for the processing of the resource consent will be forwarded to you shortly.

In accordance with Sections 357A and 357B of the Resource Management Act 1991, you have the right to object to any of the attached conditions of consent or the additional administrative charges. An objection must be lodged with the Whakatāne District Council within 15 working days of receiving Council’s decision.

Please do not hesitate to contact me or email the Planning team at planning@whakatane.govt.nz if you have any further queries regarding this resource consent or its conditions.

Ngā mihi

Mike Avery

Manager Resource Consents

LL-2020-9257-00

resource consent (land use)

| TYPE: | LAND USE SECTION 88 (APPLICATION) |
| --- | --- |
| APPLICANT: | RAYNES, BARRY |
| DETAILS: | TO CONSTRUCT A DWELLING WITH AN ATTACHED GARAGE THAT HAS A PLATFORM BELOW THE MINIMUM BUILDING PLATFORM LEVEL AND NON-COMPLIANT SITE PERMEABILITY AND OUTDOOR LIVING SPACE |
| ADDRESS: | 60A POHUTU STREET, Whakatane |

On 28 October 2021, Whakatāne District Council resolved under delegated authority as follows:

- To GRANT a Resource Consent:

- Under section 9(3)(a) of the Resource Management Act 1991 and Rules 18.2.3.2, 4.2.7 and Rule 4.2.10.3 of the Whakatāne District Plan being a discretionary activity and;

- In accordance with sections 34A, 104 and 104B of the Resource Management Act 1991;

To construct a dwelling with an attached garage that has a platform below the minimum building platform level and non-compliant site permeability and outdoor living space on a 469 m2 allotment of land described as:

| Legal description: | LOT 2 DP 548564 |
| --- | --- |
| Record of Title (RT): | 939786 |
| Site Address: | 60a Pohutu Street, Whakatane |

## Subject to the following conditions:

- General

- The development shall be carried out in accordance with the submitted plans stamped “Approved by Planning” (A2117026) and information lodged with the application including the supporting information supplied

- Stormwater

- Stormwater management and maintenance details shall be provided with the building consent application for the dwelling in accordance with the approved plan ‘Drawing Number 101’, dated 27/09/2021 to demonstrate compliance with the consent notice on the title. All maintenance requirements shall be met on an on-going basis.

- Inundation

- The dwelling, excluding the attached garage, shall have a minimum platform level that achieves the 1% AEP level + 500mm freeboard. Refer to advice note (v).

- All electrical wiring and fittings in the garage shall be installed at or above the 1% AEP level + 500mm freeboard level. Refer to advice note (v).

- The garage shall not be used as a habitable room.

- The walls of the garage shall be constructed of materials able to withstand the effects of inundation without experiencing damage that would require their replacement, up to a level of at least the 1% AEP level + 500mm freeboard.  There shall be no insulation or use of gib wall lining below the 1% AEP level + 500mm freeboard. Refer to advice note (v).

- Compliance with conditions 2-6 above shall be demonstrated in plans and specifications included in the Building Consent application for the new dwelling.

- A monitoring fee of $160.00 shall be paid to the Council for the administration, monitoring and supervision of this consent. Notwithstanding the above, where there is good and reasonable cause for unprogrammed monitoring and additional site inspections, then the costs of that will be a charge on the consent holder. Such costs are recovered on an actual and reasonable basis as defined in the General Conditions and Notes of the Fees and Charges Schedule as approved by the Council in terms of Section 36 of the Resource Management Act 1991.

- THAT within 20 working days of the receipt of the invoice, the additional administrative charges that were incurred in relation to the receiving, processing and granting of this resource consent (pursuant to S36 of the Resource Management Act 1991) shall be paid to the Council in full.

## Advice notes:

- If you do not understand any conditions of this consent, please contact the Council’s Planning Department for clarification before starting work.

- Under Section 125 of the RMA, this resource consent will lapse in five years, unless it is given effect to within that time.

- In accordance with Section 127(1) of the RMA, the consent holder may apply to the consent authority for a change or cancellation of any condition of this consent.

- It is the consent holder’s responsibility to comply with any conditions imposed on this resource consents prior to and during (as applicable) exercising this resource consent.

- Under rule 18.2.3.2, the minimum building platform level is currently 102.15 m RL Whakatāne Datum. If there is a delay in giving effect to this consent, this level may change as it is dependent on the results of stormwater modelling and climate change factors.

- In the event that, during earthworks, an archaeological find is made or kōiwi uncovered, work shall stop immediately, the appropriate iwi authority shall be advised and an appropriate course of action shall be determined in accordance with the Heritage New Zealand Pouhere Taonga Act 2014 and the appropriate iwi protocols.

- Building consent will be required for the new dwelling. There is a Section 72 on the record of title as the section is subject to inundation.

- As part of the building consent process a site-specific geotechnical assessment report will be required from a suitably qualified geotechnical engineer to confirm good ground and foundations/slab type.

- Detailed design of services including water, stormwater and wastewater will be required at the time of building consent application.

## Reasons for the decision:

- The actual and potential effects created by the proposal are considered acceptable because:

- The dwelling achieves the minimum building platform level. In the event of a 1% AEP flood, only the garage may be subject to inundation. Conditions have been imposed to ensure all electrical wiring is raised above the minimum building platform level for safety and protection from electrocution. A condition is also proposed in relation to the materials to be used in the garage.

- The garage is a non-habitable building. A condition is included that the garage is to remain non-habitable to avoid the risk to life. The owner/occupier may store their personal belongings in the garage at their own risk.

- In order for the garage to meet the relevant building platform level the applicant would need to increase the driveway incline in an impractical manner.

- Overall, the proposal is a pragmatic solution and will pose minimal risks to inhabitants of the property.

- The dwelling will still have an adequate useable outdoor living area that is accessible from the main living area and north facing.

- All stormwater can be disposed of appropriately in accordance with the consent notice.

- The proposal is considered consistent with the following objectives and policies of the Whakatāne District Plan:

- Objective Res 1 – Policy 1 – 5

- Objective Haz1 – Policy 4, 11, 12

- The proposal is consistent with the relevant matters for discretion in the Whakatāne District Plan and the higher order National and Regional planning documents.

- The applicant has accepted the draft conditions.

- Overall, the proposal meets the purpose (Section 5) and principles (Sections 6-8) of the Resource Management Act 1991 because the proposal is a sustainable use of residential land and all adverse effects can be avoided, remedied and mitigated.  The proposal allows the applicant to construct the proposed dwelling cost effectively, the alternative being that the garage is significantly raised making vehicular access impractical. The health and safety of people has been considered, along with economic and social effects. In this case, the non-compliance of the non-habitable attached garage only, presents no risk to life and the applicant accepts that there is a risk from inundation. The residential use is anticipated by the zoning and adequate on-site amenity is maintained.

Mike Avery 
Manager Resource Consents